Tarleton State University Construction and Renovation Standards                    January 2011

General Products listing

- Acoustical Ceiling Grid and Tile

- Door Closure

- Locksets

- Panic Hardware

- Aluminum Storefront Doors and Hardware

- Fire Alarm System

- Automatic Door Opener

- Aluminum Window Blinds

- Solid Plastic Toilette Partitions

- Hollow Metal Door Frames

- Gear Hinge

- Hinges

- Kick Plates

- Overhead stops

- Door Silencer

- Threshold

- Wall Stops

- Weather stripping

- Door Sweeps

- Wood Doors

- Hollow Metal Doors

- Fire Extinguisher Cabinet

- Fluorescent Light Fixtures

Below is a list of material standards with associated item numbers utilized on the Tarleton State University campus.

________________________________________________________________________________

The following list is a sole source campus standard (no substitutions):

- Acoustical Ceiling Grid – USG Donn DX (white)

- Acoustical Ceiling Tile – USG Radar 2’x2’, SLT edge (non-directional), white

- Door Closer – LCN 4041 (standard duty) or 4110 (heavy duty) dark bronze

- PA Shoe (62PA) required for parallel arm mounting

- Locksets – Sargent T-Zone

- Office 28-11G05-LL-10B (keyway as specified)

- Passage 28-11G15-LL-10B

- Panic Hardware (hollow metal doors) – Sargent 8800 series

- Cylinder Dogging (16-prefix) when Electric Latch Retraction (56-prefix) is not necessary for card reader.

- Standard order #: 16-8813-ETL-TB-(hand)-10B

- Panic Hardware (aluminum storefront doors) – Von Duprin

- EL-RXCD99NL-OP x 110NL (with card reader)

- RX

- 330 (dummy panic hardware)

- Aluminum Storefront Doors – Special Lite SL-15 Monumental

- ¼” bronze tempered glass (exterior)

- ¼” clear tempered glass (interior)

- SL-484 12” FRP Mid-panel

- SL-88 recessed pull

- 10” bottoms

- Fire Alarm System – Notifier 320 panel

- Automatic Door Opener – Power Access #4300, push button CE-635 BSM

- Aluminum Window Blinds – Levelor Cordless Mark I 1” blinds, lightmaster option

- Solid Plastic Toilet Partitions – Comtec Industries (Scranton Products) Zero Sight Line Compartments

- 1” thick High-Density Polyethylene resins Privacy screens & Pilasters

- Rounded radius edges on Panels and Pilasters

- 55” high Panels mounted 14” above finished floor

- 82” high Pilasters fastened into a 3” high stainless steel pilaster shoe or plastic pilaster shoe

- 8” heavy-duty extruded aluminum hinges

- 6” heavy-duty extruded aluminum door strike/keeper

- Heavy-duty extruded aluminum latch and housing

- Each door supplied with one coat hook/bumper and door pull

- 54” long wall brackets made of extruded PVC plastic or aluminum

- Headrail shall be made of heavy-duty extruded aluminum

- Headrail brackets shall be made of 20 gauge stainless steel

The following list can substitute an “or equal” as long as the specifications are the same as the ones below:

- Hollow Metal Door Frames – Curries or Ceco “SU” series, unequal rabbit, 16 ga.

- Gear Hinge – McKinney, Select SL24HD, full mortise, continuous, dark bronze

- Hinges – Ives, Hager BB1279 or BB1168, McKinney (note: heavy weight for restrooms/classrooms)

- Kick Plates – Ives, Rockwood, Trimco

- Overhead Stop (if necessary) – Glynn Johnson 100 series

- Door Silencer – Ives SR64 (grey or tan)

- Threshold – National Guard Product 896DKB (for exterior)

- Wall Stops – Ives, Hagar (concave rubber bumper) US10B finish

- Weather Stripping – National Guard Product 160VDKB vinyl perimeter seal

- Sweep – National Guard Product 200UDKB

- Wood Doors (solid core) – VT Industries 5502 (top & bottom rails 1-3/8”, vertical stiles 1-3/8”, Marshfield Signature Series (plain sliced red oak flush, clear0-05 finish)

- Hollow Metal Doors – Curries 607 (light weight, interior) 18 ga. face skin & 747 (heavy weight, exterior, stairwells) 16 ga. face skin & 20 ga. stiffeners , Ceco Door Medallion or Trio (same as Curries)

- Fire Extinguisher Cabinet – Larson #2409-5R, with Vertical Duo style door, Clear Acrylic door glazing, 1 ½” square trim semi-recessed trim projection & bronze anodized aluminum.

- Fluorescent Light Fixtures –

- Offices:

Lithonia Lighting #2PM4-G-B-(# of lamps)-6(louver finish)-(one lamp ballast) GEB10IS

Cooper Lighting #2HP3GX-(# of lamps)32S26I-NV-LGSP35M/OC8-HB81-U

- Hallways, Break rooms, Restrooms, etc.:

Lithonia Lighting #2GT8-(# of lamps)-32-A12-MVOLT-(one lamp ballast)GEB10IS

Cooper Lighting #2GC-(# of lamps)32A-UNV-LGSP35M/OC8-EB81-U

NO removable cores on Sargent locksets.

NO vertical rods (concealed or surface mount) for panic hardware on aluminum storefront doors.

________________________________________________________________________________

Tarleton State University Brick standard for new construction

Acme Brick    Eureka Plant   EBP 635

Product code   288880121

Brick Colors    230    240    241    260

Size;  Modular Only

Note: Color Blends percentages vary depending upon final building location on the Tarleton Campus and should be field verified and mocked up for approved by owner’s representative prior to construction.

Blend rates are as follows;  (Varies due to campus location)

Color   230     60-70 %.

Color   240     10 %.

Color   241     15-25 %.

Color   260       5-15 %.

Renovations of existing buildings - Brick colors should be field verified and mocked up on-site for approval by owner’s representative.  Note: Some of the older Tarleton buildings have the older Tarleton Brick which is more  of a orange brick.

_____________________________________________________________________________

Campus Standard for Exterior Benches @ Picnic Tables

Public Areas Benches-   The Public area benches shall be constructed of all weather Pea Gravel aggregate stone sides with Powder coated Bronze preferred  colored expanded fluted metal Seating and back rest.  The expanded metal should be fluted/slotted style for public areas only. Final aggregate color to be coffee Bean  (see www.upbeat.com for examples.  Item# CKSCBEN6) Public areas would be defined as the Thompson Student Development Building, The Administration Building, The Trogdon House, Fine Arts Building, Mall areas, Band Stand, Military Memorial, visitor Center…ect..

Trash Receptacles aggregate and slotted metal should match the public area benches as well. Available colors are Black or Brown  (bronze preferred if available) metal color should match with the bench color as well. (see www.upbeat.com for examples.  Item# TSS) Aggregate color to be coffee bean.

___________________________________________________________________

Intermediate Campus area Benches - 6’ wide metal slotted bench  with Cast iron ends Item # L1360  Bronze color The Intermediate area benches shall be constructed of  Cast Iron ends with plastisol coated steel rectangular steel slats with high gloss powder coat finish.  These benches should be utilized throughout the general areas of campus. (not in highly public areas or off the beaten path )

These would be installed in and around front entrances the general classroom type buildings such as the O.A Grant Building, The Math Building, The business Building, ect.. (see www.upbeat.com for examples.  Item# L1360)

General Campus 5’ wide metal bench (Lower cost General campus bench) Item # L2010 The general area benches shall be constructed of rectangular steel tubing with high gloss powder coat finish.  These benches should be utilized throughout the general  off the beaten path type areas of the campus. (not in highly public areas or up against the main entrances areas of building.  These benches will make great sidewalk pathway benches as well as backsides of buildings not regularly utilized by the public. (see www.upbeat.com for examples.  Item# L2010)

Trash Receptacle 32 gallon  (see www.upbeat.com for examples.  Item# L1378)

This trash receptacle is constructed of Plasticol coated steel slats. Color=Bronze

Lid shall be see www.upbeat.com item# #3202 bronze color.

(Note: This Trash receptacle shall be used with all the benches except “Public area benches” which have aggregate sides).

Roofing Standard for Tarleton State University

Commercial Flat Roofing Sarnafil

PVC Sheet: Uniform, flexible sheet formed from polyvinyl chloride, complying with  ASTM D 4434-87, of the following type, grade, polymer thickness, FM approval, UL Classification, Solar Reflectance Index (SRI), felt backing, and exposed face color:

- Classification: Type II, Grade I, PVC

- Membrane Thickness: 72 mils, +/- 2.0 mils

- FM Approval:  FM 1A-90

- UL Class: A

- Solar Reflective Index (SRI):  104

- Felt backing: Polyester felt with a weight content of 9 ounces per square yard

- Exposed Face Color: White

Tarleton State University  shingle roofs                                                                                                                                      New Shingle Standard  introduced in 2010

Timberline Shingle   (Prestique 30 year )                                                                                                                                         High Definition shingles  Color= Hunter Green                                                                                                                                        Manufacturer  GAF/ELK

Tarleton State University Standard Plumbing Fixtures

Water Closet                      Kohler Kingston K-4330 (wall mount)

HC Water Closet               Kohler Kingston K-4300 (wall mount)

WC Flush Valve                 Sloan Royal #111

Urinal                                    Kohler Bardon Superior K-4960-ET

HC Urinal                             Kohler Bardon Superior K-4960-ET

Urinal Flush Valve            Sloan Regal #186

NOTE: All water closets and Lavatories shall be on Carriers

Lavatory                               Kohler Chesapeake K-1729 (wall mount)

HC Lavatory                        Kohler Morningside K-12634

Lavatory Faucet                Kohler Triton K-7401-2A

HC Lavatory Faucet         Kohler Triton K7437-K

Service Sink                        Kohler Whitby K-6710

Drinking Fountain            Elkay #EZSTL8C (twin station wall mount)

Apron for DF                      Elkay #LKAPREZL

_____________________________________________________________________________________

Tarleton State University Smart Classroom Requirements

Note: Depending on the room configuration (for example if the space is to be used as a smart classroom), we would need the following;

The following should be considered whenever renovating smart classrooms and/or facilities with smart cart technology.

- Projectors will require power in the ceiling within a few feet of projector.

- Power will need to be available adjacent to the wall plate that connects smart cart

- There will need to be two data drops (PC and Room Control)

- Tarleton Representatives need to be included in the planning stages so that if we need smart cabling (speakers, VGA, cat5 for smart board, ect), we can ensure that these items are coordinated and installed during the project and not after.

Note: Network Infrastructure requires including the following; UPS,  Wired and Wireless requirements,  Closet power and cooling requirements.

____________________________________________________________________________

Summary of Data Requirements for Tarleton State University (see attached Tellecommunications Wiring Standards PDF file for detailed specifications).

Power requirements.

Dedicated 4ea 110V 20A Power Outlets located on the top of each equipment rack. (Standard 110 V 15a outlets power outlet located along closet walls)

Dedicated 1ea 208V 30 A Power outlet located on top of rack system.

Network Equipment:

Basic network infrastructure includes both wired and wireless network connectivity availability.

Wired:

Data/Voice port requirements will determines which type of network switching equipment will be selected.

Network connectivity for 48 or less port will be provided by a stackable network switch.

Network connectivity for 49 or more ports will be provided by a chassis network switch.

Wireless:

Wireless network connectivity will be provided by placing wireless access points within the structure  in order to support both users requirements and provide access to data resources.

Temperature:

Temperature within the data closets is not to exceed 80 degrees.  Each wiring closet will contain a cooling vent.

Telecom room size

Serving Area (ft2)  (10,000)  Room size (10x11)

8,000                              10x9

5000                                10x7

Larger serving areas will require additional telecom rooms.

Cable rack and wire management.

Chatsworth Products, Inc.

55053-703, 19 X 7 Rack

40095-703, 6” Wire Manager

40096-703, 10” Wire Manager

30529-719, Horizontal Wire Manager

Telecom Rooms Cable Tray

Ladder type cable tray 18” width-

Provide elbows, Tees, crossovers, cable roll-outs, and hardware as required for a complete system.

Ladder racks must be secured cable racks.  Racks must be bolted to the floor. All must be grounded

Telecom rooms must have a TMGB Grounding Bus bar and ground conductors.

Telecom rooms must have Plywood backboards throughout room.

Telecom rooms must have adequate room to house and maintain data cabling and network equipment.

All penetrations into Telecom rooms must be Fire Stopped with EZ PATH fire rated devices.

See Attached file for Lighting Standards across Campus as follows;

- TSU Walkway light-Fresno FN1  HPS  Extruded Alum Square

- Antique Street Lamp and Pole- King Luminaire  K118 Washington

- TSU bronze decorative 14’ pole 24” SQ Aluminum Housing

- Large Light poles Valmont 39’ tall w/ Nut covers and Kim Box lighting

- Tarleton State University utilizes Kim Lighting for all parking lots lights

On 24’ and/or 39’ poles and 14’ walkway single light 24”square light poles.

(see TSU Bronze Decorative Light specifications for Kim lights.

See attached two each PDF files for the TSU one Card Specifications.

See attached file TSU Communications Wiring Specifications.

This concludes Tarleton State Universities standard specification update through Jan 15th 2011.